## Slide 1: Validation Test Strategy
Notifier v30.00.003 with Verifire Tools v11.00

## Slide 2: Summary
Accolade Project: 81210 Firmware support for SMX, Anixter, Fire-Lite and Notifier Branding.
Fixes for Defects:

## Slide 3: Epics for this release
AFP3030-200 – 4 Loop AFP-3030.
AFP3030-283 – The Hon-SMX+ and SMX-NCA-2 panels shall not support DVC devices.
AFP3030-286 – Fix defects found by DA and Distributor.
AFP3030-293 – Restrict loop number selection from 1 to 4, detector or module address from 1 to 99 for HON-SMX+ panel.
AFP3030-294 – New branding name of HON-SMX+ and SMX-NCA-2.
AFP3030-295 – HON-SMX+ and SMX-NCA-2 shall support maximum 16 panels in the same network.
AFP3030-296 – New system normal and power up banners for HON-SMX+ and SMX-NCA-2.

## Slide 4: Delivery Focal
Engineering
Mike Voils
Quality
Anthony Scinto
Sites Involved
Northford, CT – HBT
PMO
Yang Lin
Marketing
Tressa Joy
Fred Van Pala
Nick Rascati

## Slide 5: Validation Test Plan
Models affected
AFP-3030, NCA-2AU, HON-SMX+, SMX-NCA-2, NFS2-3030, NCA-2, FCX-SMX+ and FCX-NCA-2.
Jira Task
AFP3030-298 – As a marketing, I want my FCX-SMX+ and FCX-NCA-2 rebrand to Firelite brandings, so that to replace FireConnex.
Test Cycle planned
One test cycle is planned (20 days, estimate based on 1 resource)
8 Panels and 1 Software Utility (Verifire Tools) to be tested.
Estimated submittal date 11/30
Estimated completion date

## Slide 6: Fire Panels
Product | Description
AFP-3030 | Notifier Australia
NCA-2AU | Notifier Australia
HON-SMX+ | Honeywell SMX+
SMX-NCA-2 | Honeywell SMX+
FCX-SMX+ | Firelite SMX+
FCX-NCA-2 | Firelite SMX+
NFS2-3030 | Notifer
NCA-2 | Notifer